## Cover Sheet
Estimate Package For:
Client
Project
RFP Received Date |  | Bid Due Date
Estimated By
Customer Contact Name |  | Phone | Email
Customer Type | Direct Customer | General Contractor | Sub/Tier
Job Site Address
Project Overview
Project Specifics- Previous Customer Experiences, Special Circumstances etc

## Executive Summary
Mark-Ups Applied | [6 empty] | Break-Even
Denotes Fields for Input |  |  | Denotes DO NOT TOUCH |  |  |  | Denotes Fields for Input |  |  | Denotes DO NOT TOUCH
Description | Amount | Totals | Hours | M/U Rate | Fed From |  | Description | Amount | Totals | Hours | M/U Rate | Fed From
Labor | [6 empty] | Labor
Operational Labor | 0 | 0 | 0 |  | Labor Projections |  | Operational Labor | 0 |  | 0 |  | Labor Projections
Ops Admin Labor | 0 | 0 | 0 |  | Labor Projections |  | Ops Admin Labor | 0 |  | 0 |  | Labor Projections
Travel | 0 | 0 | 0 |  |  |  | Travel | 0 |  | 0
Total Project Labor |  | 0 | 0 | 25% |  | 0 | Total Project Labor |  | 0 | 0 | 0%
Pass Through | [6 empty] | Pass Through
Per Diem | 0 | 0 |  |  | Pass Throughs |  | Per Diem | 0 |  |  |  | Pass Throughs
Lodging | 0 | 0 |  |  | Pass Throughs |  | Lodging | 0 |  |  |  | Pass Throughs
Airfare | 0 | 0 |  |  | Pass Throughs |  | Airfare | 0 |  |  |  | Pass Throughs
Rentals | 0 | 0 |  |  | Pass Throughs |  | Rentals | 0 |  |  |  | Pass Throughs
Soft Costs | 0 | 0 |  |  | Pass Throughs |  | Soft Costs | 0 |  |  |  | Pass Throughs
Total Pass Through Expense |  | 0 | 0 | 25% |  | 0 | Total Pass Through Expense |  | 0 | 0 | 0%
Material | [6 empty] | Material
Consumable | 0 | 0 |  |  | Bill of Materials |  | Consumable | 0 |  |  |  | Bill of Materials
DAS Materials | 0 | 0 |  |  | Bill of Materials |  | DAS Materials | 0 |  |  |  | Bill of Materials
BAT Materials | 0 | 0 |  |  | Bill of Materials |  | BAT Materials | 0 |  |  |  | Bill of Materials
S&H / Material Contingency | 0 | 0 |  |  |  |  | S&H / Material Contingency | 0
Total Materials |  | 0 |  | 25% |  | 0 | Total Materials |  | 0 |  | 0%
Projected Gross Margins Grand Totals | [6 empty] | Projected Gross Margins Grand Totals
Total Direct Cost |  | 0 |  |  |  | 0 | Total Direct Cost |  | 0
Projected Gross Profit $$ | 0 | 0 |  |  |  |  | Projected Gross Profit $$ | 0 | 0
Mark-Up% | 0% | [5 empty] | Mark-Up% | 0%
Gross Margin % | 0% | [5 empty] | Gross Margin % | 0%
Tweak for Margin Target | [6 empty] | Tweak for Margin Target
Tweak for Margin Target |  |  |  |  | To achieve desired GM |  | Tweak for Margin Target | 0 | 0
PGM $$ Post Tweak | 0 | 0 |  |  |  |  | PGM $$ Post Tweak | 0 | 0
Mark-Up% Post Tweak | 0% | [5 empty] | Mark-Up% Post Tweak | 0%
Gross Margin % Post Tweak | 0% | [5 empty] | Gross Margin % Post Tweak | 0%
PGM Grand Total |  | 0 |  |  |  | 0 | Grand Total |  | 0
Projected Net Margins Grand Totals | [6 empty] | Projected Net Margins Grand Totals
Mark-Up for Corporate | 0 |  |  |  |  | 0 | Cost of Corporate | 0
PNM Grand Total |  | 0 |  | 5% |  |  | PNM Grand Total |  | 0
Projected Net Profit $$ | 0 | 0 |  |  |  | 0 | Projected Net Profit $$ | 0 | 0
Mark-Up% | 0% | [5 empty] | Mark-Up% | 0%
Net Margin % | 0% |  |  |  | Higher than GM due to Comm and Corp mark-ups |  | Net Margin % | 0%
PNM Grand Total |  | 0 |  |  |  | 0 | PNM Grand Total |  | 0
Mark-Ups Applied
Total Labor to Bid |  |  |  |  | Venue Covered sqft |  | 750000
Description | Amount |  |  |  | ACT Cost /sqft |  | 0
Total Labor | 0 |  |  |  | ACT Quote / sqft |  | 0
Total Expense | 0
Corporate | 0 |  |  |  | Client Provided Equipment
Tweak for Margin Target | 0 |  |  |  | ACT Quote + Active / sqft |  | 0
Total Labor to Bid |  | 0% |  |  | Sales Tax Rate |  | 8.25%
|  | 0 |  |  | ACT Quote+Active+Tax / sqft |  | 0
Total Material to Bid
Description | Amount
Total Materials | 0
Corporate | 0
Tweak for Margin Target | 0
Total Material to Bid |  | 0%
0
Grand Total to Bid
Tax Exempt | 0
Tax Included | 0
Tax Amount | 0 | Tax Rate
8.25%
Note on C28: Use goal seek to tweak if needed for Net Margin Target of 25%
Note on G43: Based on Break Even
Note on G44: Based on Mark-ups applied
Note on I46: Dollar value of CUSTOMER provided equipment and materials

## Bill of Materials
Denotes Fields for Input |  |  | Denotes DO NOT TOUCH |  |  |  | Total from Here | 0
Type | Manufacturer | Model | Item Description | Quantity | Vendor | Category | Unit Cost | Ext Cost | % of Total Cost
DC Power Plant | Vertiv | 582137200 | NetSure 5100 Integrated Power System |  | Anixter | DAS Materials | 4685 | 0 | 0%
DC Power Plant | Westell | NPGMT1012 | 100 Amp, Dual Bus, 20A GMT Fuse Panels, 1 RU 19" or 23" rack mount, UL 60950-1 |  | Anixter | DAS Materials | 360 | 0 | 0%
DC Power Plant | Cooper Bussmann | BK/GMT-10A | Fuse, GMT, 10 AMP/ 10 pack |  | Anixter | DAS Materials | 35 | 0 | 0%
Filter | Microlab/FXR | BK-3001E | Triplexer, PCS/AWS1-3/2.5 BRS, 1850-2000/1695-1780 & 2110-2200/2496-2690 MHz, 100W, 4.3-10 Connectors, Low PIM <-161dBc, IP67 |  | Anixter | DAS Materials | 1160 | 0 | 0%
Filter | Advanced RF Technologies | ADXV-R-CHC-U | ADXV: Low PIM Universal Channel Combiner |  | Anixter | DAS Materials | 1350 | 0 | 0%
Network Equipment | Advanced RF Technologies | SDR-NMS | [SDR]-NMS; SDR Network Management System w/ Chassis- Support SDR-24/30/33 modules. |  | Anixter | DAS Materials | 1000 | 0 | 0%
Antenna | Advanced RF Technologies | AD-PA-1695-4200-D | High-Isolation Donor Antenna / 1695 MHz - 4200 MHz / 17.8 - 19.6 dBi / 20.6 - 13.4 degree beam |  | Anixter | DAS Materials | 840 | 0 | 0%
Antenna | JMA Wireless | iV02OMI136-M4 | Surface Mount Omni MIMO Antenna, 617-5925 MHz 4.3-10 with pigtails. Use port 2 for SISO systems. |  | Anixter | DAS Materials | 192 | 0 | 0%
Antenna | CommScope | CMAX-DMF2-43-WI53 | Low PIM Directional MIMO Antenna 4G/5G/C-Band, 698–960 MHz,1695–2700 MHz and 3300-4200MHz |  | Anixter | DAS Materials | 344 | 0 | 0%
Coax Jumpers | RFI |  | SMA Male to N Male Cable Using LMR-200 Coax - 15' |  | Anixter | DAS Materials | 42 | 0 | 0%
Coax Jumpers | RFI |  | SMA Male Right Angle to N Male Cable Using LMR-200 Coax - 15' |  | Anixter | DAS Materials | 42 | 0 | 0%
Coax Jumpers | Times Microwave Systems | SPF25043M43M3.0F | 3ft - 50 Ohm Low Loss, Low PIM Fire Retardant Coaxial Jumper Cable |  | Anixter | DAS Materials | 29.81 | 0 | 0%
Combiner | SYM Technology | HC-33-60 | Hybrid combiner 3x3 4.3-10 |  | Anixter | DAS Materials | 1900 | 0 | 0%
Combiner | Microlab | CM-680E | Hybrid combiner 3x3 4.3-10 |  | Anixter | DAS Materials | 964.22 | 0 | 0%
Combiner | MicroLab | BL-51N | Duplexer AWS 2110-2180/1695-17 80MHz 60W -161dBc N-type IP67 |  | Anixter | DAS Materials | 1087.89 | 0 | 0%
Combiner | MicroLab | BL-19N | Duplexer PCS 1850-1915/1930-19 95MHz 60W -153dBc N-type IP64 |  | Anixter | DAS Materials | 640 | 0 | 0%
Combiner | MicroLab | CA-84N | Microlab CA-84N 700-2700 MHz Hybrid Coupler N (CA-84N) |  | Anixter | DAS Materials | 450 | 0 | 0%
Load | CommScope | T-10-UW-43-M | Termination Load, 0–6000 MHz, Not for PIM-rated applications |  | Anixter | DAS Materials | 50 | 0 | 0%
Splitter | Corning | 37G00189332-400F | Corning ONE Composite Cable Assembly, 6F/6C 16 AWG,400 Ft. |  | Anixter | DAS Materials | 400 | 0 | 0%
Splitter | Microlab/FXR | DN-54FE | Unequal Power Splitter (Tapper), Low PIM <-161 dBc, 4:1 (6 dB), 350-5930 MHz, 500W, 4.3-10 Connectors, IP67, |  | Anixter | DAS Materials | 128 | 0 | 0%
Splitter | Microlab/FXR | DN-34FE | Unequal Power Splitter (Tapper), Low PIM <-161 dBc, 2:1 (3 dB), 350-5930 MHz, 500W, 4.3-10 Connectors IP67 |  | Anixter | DAS Materials | 119 | 0 | 0%
Splitter | Microlab/FXR | D2-83FE | 2-way Tube Style - Reactive Power Divider - Ultra Wideband 617-5925 MHz - 300W - Low PIM <-165 dBc - 4.3-10 Connectors, IP67 |  | Anixter | DAS Materials | 125 | 0 | 0%
Splitter | Microlab/FXR | DN-84FE | Unequal Power Splitter (Tapper), Low PIM <-161 dBc, 20:1 (13 dB), 350-5930 MHz, 500W, 4.3-10 Connectors, IP67 |  | Anixter | DAS Materials | 94 | 0 | 0%
Splitter | Microlab/FXR | DN-64FE | Unequal Power Splitter (Tapper), Low PIM <-161 dBc, 6:1 (8 dB), 350-5930 MHz, 500W, 4.3-10 Connectors, IP67, |  | Anixter | DAS Materials | 159 | 0 | 0%
Splitter | Microlab/FXR | DN-74FE | Unequal Power Splitter (Tapper), Low PIM <-161dBc, 10:1 (10 dB), 350-5930 MHz, 500W, 4.3-10 Connectors, IP67 |  | Anixter | DAS Materials | 125 | 0 | 0%
Splitter | Microlab/FXR | DN-44FE | Unequal Power Splitter (Tapper), Low PIM <-161 dBc, 3:1 (4.8 dB), 350-5930 MHz, 500W, 4.3-10 Connectors, IP67 |  | Anixter | DAS Materials | 193 | 0 | 0%
Splitter | Microlab/FXR | DN-94FE | Unequal Power Splitter (Tapper), Low PIM <-161 dBc, 30:1 (15 dB), 350-5930 MHz, 500W, 4.3-10 connectors, IP67 |  | Anixter | DAS Materials | 119 | 0 | 0%
Hybrid Matrix | Sym Technology | CSC-TMO-PAB | CSC Triplexer 1U Rack Mountable |  | Anixter | DAS Materials | 1900 | 0 | 0%
GPS | PCTEL | GPS-TMG-HR-26N | 26 DB HIGH REJECTION ANTENNA WITH ENHANCED NARROW BAND FILTERING |  | Anixter | DAS Materials | 230 | 0 | 0%
Coax | RFS | ICA12-50JPLW | ClearFillLine - 1/2in Low Loss Air Dialectric Cable - Plenum Rated/ Indoor/ Outdoor Usage/ Color White |  | Anixter | DAS Materials | 3.5 | 0 | 0%
Coax | Commscope | LDF4-50A | LDF4-50A, HELIAX® Low Density Foam Coaxial Cable, corrugated copper, 1/2 in, black PE jacket (outdoor) |  | Anixter | DAS Materials | 2.03 | 0 | 0%
Coax | RFS | RLCF12-50J | 1/2" CELLFLEX® Low-Loss Foam-Dielectric Coaxial Cable: Outdoor |  | Anixter | DAS Materials | 2.03 | 0 | 0%
Coax | RFS | HL4RPV-50 | 1/2" HELIAX® Plenum Rated Air Dielectric Coaxial Cable - Corrugated Copper - Blue PVDF Jacket – 50-ohm |  | Anixter | DAS Materials | 3.5 | 0 | 0%
Coax | CommScope | AL4RPV-50 (MOB) | HELIAX® Plenum Rated Air Dielectric Coaxial Cable - Corrugated Aluminum - 1/2 in - Off White PVC Jacket |  | Anixter | DAS Materials | 3.5 | 0 | 0%
Coax | RFS | HCA78-50JPL-A11 | HELIFLEX - 7/8in Air Dielectric Coaxial Cable - Plenum Rated/ Indoor Usage Only |  | Anixter | DAS Materials | 5.5 | 0 | 0%
GPS | RFS | GKSPEED20-12C | High speed grounding kit for CELLFLEX® LCF 12 |  | Anixter | DAS Materials | 10.32 | 0 | 0%
GPS | RFS | 43M43FS14 PE-060FFS | CELLFLEX® Factory-Fit Jumper Assembly, 1/2" Low Loss Foam |  | Anixter | DAS Materials | 40.87 | 0 | 0%
GPS | Thor | F-1GPS-TX/RX | GPS over Fiber receiver |  | Thor | DAS Materials | 1495 | 0 | 0%
GPS |  | TAPE-SF-19X9-B | Self Fusing Tape, Black |  | Anixter | DAS Materials | 60.99 | 0 | 0%
GPS | RFS | WPFG-1 | Weather proofing kit (with Butyl Rubber) |  | Anixter | DAS Materials | 13.31 | 0 | 0.1389%
GPS | ROHN | FRM225 | 60"H Non-Penetrating Mount TESSCO SKU: 518376 |  | Anixter | DAS Materials | 191 | 0 | 0.1389%
GPS | ROHN | FRMMAT | Mat Kit for FRM Mounts, 42-1/2"x 36" x 1/8" thick. TESSCO SKU: 81998 |  | Anixter | DAS Materials | 31.2 | 0 | 0%
Rack | Chatsworth | 30139-719 | Universal Horizontal Cable Manager; 1 RMU; 19"W ; Single-Sided; Black |  | Anixter | DAS Materials | 93 | 0 | 0%
Rack | Chatsworth | 30130-719 | Universal Horizontal Cable Manager; 2 RMU; 19"W ; Single-Sided; Black |  | Anixter | DAS Materials | 95 | 0 | 0%
Rack | Chatsworth | 13698-001 | Duplex Electrical Outlet Box, Zinc |  | Anixter | DAS Materials | 14.5 | 0 | 0%
Rack | Chatsworth | 13703-701 | Floor Drilling Template, Black |  | Anixter | DAS Materials | 110 | 0 | 0%
Rack | Hilti | KWIK BOLT TZ2 WEDGE ANCHOR | HILTI KWIK Bolt TZ, ¾” – 5 ½” L.. KWIK BOLT TZ2 WEDGE ANCHOR |  | Anixter | DAS Materials | 25 | 0 | 0%
Rack | Chatsworth | 32697-002 | Tool-less Bend Radius Kit for Fiber Patch Cords, Pack of 50, Black |  | Anixter | DAS Materials | 135 | 0 | 0%
Rack | Chatsworth | 12293-X19 | Heavy Duty Shelf for 6” (150 mm) Channel, For 19” Rack |  | Anixter | DAS Materials | 278 | 0 | 0%
Rack | Chatsworth | 12639-001 | #12-24 Cage Nuts and Screws, Pack of 25, Black |  | Anixter | DAS Materials | 63 | 0 | 0%
Filter | SOLiD US | iBIU_AC | ALLIANCE iBIU Chassis, AC Version Includes: iMCPU, iMPSU_AC |  | Solid | DAS Materials | 2069.08 | 0 | 0%
Filter | SOLiD US | iBIU_B | ALLIANCE Input module, blank |  | Solid | DAS Materials | 122 | 0 | 0%
Splitter | SOLiD US | iMCDU | ALLIANCE Main Combiner/Divider Unit that is connected to the iBIU chassis to operate as the main iBIU |  | Solid | DAS Materials | 482.04 | 0 | 0%
Filter | SOLiD US | iMDBU_1900P | ALLIANCE 1900 MHz Input Module for the iBIU |  | Solid | DAS Materials | 1190.28 | 0 | 0%
Filter | SOLiD US | iMDBU_AWS13 | ALLIANCE 2100MHz (AWS 1+3) Input Module for the iBIU |  | Solid | DAS Materials | 1457 | 0 | 0%
Filter | SOLiD US | iMDBU_23_25_FB | ALLIANCE Input module, 2300 WCS, 2500MHz TDD FB |  | Solid | DAS Materials | 2267.2 | 0 | 0%
Filter | SOLiD US | HPOI_23_25 | ALLIANCE High Power POI Module (20W), 2300MHz WCS, 2500MHz TDD, 4 Ports |  | Solid | DAS Materials | 2244.84 | 0 | 0%
Filter | SOLiD US | HLPOI_1900P | ALLIANCE Hybrid POI Module, 1900 MHz PCS, 2 Ports high power 20W, and 2 Ports low power 100mW |  | Solid | DAS Materials | 1632.8 | 0 | 0%
Filter | SOLiD US | HLPOI_AWS13 | ALLIANCE Hybrid POI Module, AWS1 &3, 2 Ports high power 20W, and 2 Ports low power 100mW |  | Solid | DAS Materials | 1632.8 | 0 | 0%
Filter | SOLiD US | LPOI_EB | Low Power Extender Board, +10dBm max, Simplex only, 136MHz to 2700Mhz |  | Solid | DAS Materials | 201.24 | 0 | 0%
Media Converter | SOLiD US | eROU_7191725L1_N_R | edgeROU, Main, 700/1900/AWS13/2500, Lambda 1, Internal Antenna |  | Solid | DAS Materials | 2030 | 0 | 0%
Electrical |  | SP104-15 | Geist - SP104-15 Rack Mount Power Strip - Graybar |  | Graybar | DAS Materials | 326 | 0 | 0%
Electrical | HD |  | 3/8 x 1 bolts - stainless |  | HD | Consumable | 1 | 0 | 0%
Electrical | HD |  | 3/8 flat washers - stainless |  | HD | Consumable | 1 | 0 | 0%
Electrical | HD |  | 3/8 lock washers - stainless |  | HD | Consumable | 1 | 0 | 0%
Electrical | HD |  | 3/8 nut - stainless |  | HD | Consumable | 1 | 0 | 0%
Cable |  |  | 1/2 snap-ins |  | HD | Consumable | 2 | 0 | 0%
Cable |  |  | Rip-Tie Velcro 1 x 75' Roll Black Wrap Strap |  |  | Consumable | 80 | 0 | 0%
Cable | HD |  | 14" black zipties |  | HD | Consumable | 0.25 | 0 | 0%
Rack Materials | HD |  | 1/2 x 4" concrete anchors |  | HD | Consumable | 4 | 0 | 0%
Rack Materials | HD |  | #10x3/4" wood screws |  | HD | Consumable | 0.2 | 0 | 0%
Electrical | HD |  | 5/16" heat shrink |  | HD | Consumable | 1.5 | 0 | 0%
Electrical | HD |  | #12 Thhn red wire |  | HD | Consumable | 0.5 | 0 | 0%
Electrical | HD |  | #12 Thhn black wire |  | HD | Consumable | 0.5 | 0 | 0%
Electrical | HD |  | #12 Thhn white wire |  | HD | Consumable | 0.5 | 0 | 0%
Electrical | HD |  | #6 1 hole lugs |  | HD | Consumable | 3.5 | 0 | 0%
Electrical | CommScope | MT-586G-250 | Ground Wire, #6 AWG, stranded insulated, green jacket, 250 ft roll |  | HD | Consumable | 2.5 | 0 | 0%
Containment |  |  | Reinforced Poly Sheeting - 6 Mil, 12' x 100' |  |  | Consumable | 110 | 0 | 0%
Containment |  |  | Tape Case of 12 |  |  | Consumable | 10 | 0 | 0%
Respirators |  |  | DuPont™ Tyvek® Deluxe Coverall |  |  | Consumable | 60 | 0 | 0%
Respirators |  |  | Masks |  |  | Consumable | 25 | 0 | 0%
Respirators |  |  | Shoe Covers |  |  | Consumable | 5 | 0 | 0%
Respirators |  |  | Disinfection Wipes |  |  | Consumable | 20 | 0 | 0%
Respirators |  |  | Head net |  |  | Consumable | 10 | 0 | 0%
Electrical | [5 empty] | Consumable | Totals | 0 | 0%
[6 empty] | DAS Materials | Totals | 0 | 0%
[6 empty] | BAT Materials | Totals | 0 | 0%
[6 empty] | Contingency | 10% | 0 | 0%
[6 empty] | Est S&H |  | 0 | 0%
[7 empty] | Hardware Totals | 0 | 0%
0
0
0

## LOE Sheet
Denotes Fields for Input |  | Denotes DO NOT TOUCH |  | Total from Here |  | 0 | 0 | 0%
QTY | Category | Minutes Per Unit | Unit | Labor Type | Per Hour | Cost | Hours | Percent of Labor
~ | Antenna | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Adder for Hard lid ceiling | 10 | Each | Technician | 85 | 0 | 0 | 0%
| Install Antenna | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Labeling Antenna | 1 | Each | Technician | 85 | 0 | 0 | 0%
| Develop and Install custom Antenna Mount | 60 | Each | Technician | 85 | 0 | 0 | 0%
~ | Boring/Trenching/Coring | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Install Pathway Sleeves in existing core | 10 | Each | Technician | 85 | 0 | 0 | 0%
| Drill, Sheet Rock. 6" or less | 15 | Each | Technician | 85 | 0 | 0 | 0%
~ | Cable Management | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Create structure to install ladder rack to | 1 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Create structure to mount Cable tray to | 1 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Install ladder rack to exposed structure | 5 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Install ladder rack to structure above existing ceiling | 2 | Per Foot | Technician | 85 | 0 | 0 | 0%
~ | Coax | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Adder for Hard lid ceiling | 4 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Adder driver for instances of height over 20' | 4 | Per Foot | Technician | 85 | 0 | 0 | 0%
| HEPA Cart and work area containment | 3 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Connectorize captive coax up to half inch | 15 | Each | Technician | 85 | 0 | 0 | 0%
| Connectorize compression coax up to half inch | 10 | Each | Technician | 85 | 0 | 0 | 0%
| Connectorize captive coax greater than half inch | 15 | Each | Technician | 85 | 0 | 0 | 0%
| Connectorize compression coax greater than half inch | 15 | Each | Technician | 85 | 0 | 0 | 0%
0 | Labeling Coax and Category Cable | 2 | Each | Technician | 85 | 0 | 0 | 0%
| Develop and Install custom mount for splitters/couplers | 15 | Each | Technician | 85 | 0 | 0 | 0%
| Install combiner/splitters | 15 | Each | Technician | 85 | 0 | 0 | 0%
0 | Labeling for splitter | 3 | Each | Technician | 85 | 0 | 0 | 0%
| Adder - Painting of support, cabling, or conduit in place | 1 | Per Foot | Technician | 85 | 0 | 0 | 0%
| InstallCategory Cable | 3 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Connectorize RG6/Ethernet cable | 15 | Each | Technician | 85 | 0 | 0 | 0%
0 | Test Category Cable (per Drop) | 15 | Each | Technician | 85 | 0 | 0 | 0%
0 | Sweep Test per line | 30 | Each | Technician | 85 | 0 | 0 | 0%
~ | Conduit | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Adder for Hard lid ceiling | 2 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Adder driver for instances of height over 20' | 2 | Per Foot | Technician | 85 | 0 | 0 | 0%
| HEPA Cart and work area containment | 2 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Install seal tight conduit | 4 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Adder - Painting of support, cabling, or conduit in place | 1 | Per Foot | Technician | 85 | 0 | 0 | 0%
~ | Fiber | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Adder for Hard lid ceiling | 4 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Adder driver for instances of height over 20' | 4 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Individual Fiber Splicing | 20 | Each | Technician | 85 | 0 | 0 | 0%
| Install Fiber Jumper up to 12 feet | 10 | Each | Technician | 85 | 0 | 0 | 0%
| Install Hybrid Fiber | 4 | Per Foot | Technician | 85 | 0 | 0 | 0%
0 | Labeling Fiber | 2 | Each | Technician | 85 | 0 | 0 | 0%
| Install adapter - 6 port | 20 | Each | Technician | 85 | 0 | 0 | 0%
| Install Fiber Splice Trays | 240 | Each | Technician | 85 | 0 | 0 | 0%
0 | Labeling Fiber Housing | 2 | Each | Technician | 85 | 0 | 0 | 0%
~ | Head End | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Install alarm panel / modem | 30 | Each | Technician | 85 | 0 | 0 | 0%
| External dry contact alarming setup | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Install SNMP Switch | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Setup alarm reporting with NOC | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Outdoor cabinet installation | 240 | Each | Technician | 85 | 0 | 0 | 0%
| Install 19/23" rack | 300 | Each | Technician | 85 | 0 | 0 | 0%
| Install Rack cable management | 300 | Each | Technician | 85 | 0 | 0 | 0%
| Install Fencing per foot - removal is double cost | 90 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Provide and install CELL LOG book, chair, and broom | 30 | Each | Technician | 85 | 0 | 0 | 0%
| Install Smoke Detector (tied into building Alarm system) | 60 | Each | Technician | 85 | 0 | 0 | 0%
| HEPA Cart and work area containment | 180 | Each | Technician | 85 | 0 | 0 | 0%
| Add Card to DAS Equipment | 10 | Each | Technician | 85 | 0 | 0 | 0%
| Install DAS Headend equipment including grounding to rack | 120 | Each | Technician | 85 | 0 | 0 | 0%
| Install SIAD - complete cabled system | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Install passive DAS component | 25 | Each | Technician | 85 | 0 | 0 | 0%
| Install Remote | 60 | Each | Technician | 85 | 0 | 0 | 0%
0 | Labeling DAS Equipment | 2 | Each | Technician | 85 | 0 | 0 | 0%
~ | Power/Ground | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Install Chemical Grounding Rod | 120 | Each | Technician | 85 | 0 | 0 | 0%
| Grounding System - tie into existing indoor ground | 60 | Each | Technician | 85 | 0 | 0 | 0%
0 | Labeling for Grounding (includes everything GRND) | 2 | Each | Technician | 85 | 0 | 0 | 0%
| Install Main Ground Bar | 20 | Each | Technician | 85 | 0 | 0 | 0%
| Install 19"/23" Power Plant in Existing Rack | 480 | Each | Technician | 85 | 0 | 0 | 0%
| Composite cable dressing/ DC connections per copper strand | 2 | Each | Technician | 85 | 0 | 0 | 0%
| Install AC fuse Panel | 520 | Each | Technician | 85 | 0 | 0 | 0%
| Install Breakers into existing panel | 10 | Each | Technician | 85 | 0 | 0 | 0%
| Install DC Fuse Panel | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Install Rectifiers | 10 | Each | Technician | 85 | 0 | 0 | 0%
| AC Panel Install | 360 | Each | Technician | 85 | 0 | 0 | 0%
| 3 Phase Subpanel Install | 360 | Each | Technician | 85 | 0 | 0 | 0%
| EMON/DMON Meter Install | 360 | Each | Technician | 85 | 0 | 0 | 0%
| Install UPS - stand alone AC powered | 240 | Each | Technician | 85 | 0 | 0 | 0%
| Connectorize and connect Power/Grounding cables | 15 | Each | Technician | 85 | 0 | 0 | 0%
~ | Remote | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Install 19/23" rack on existing concrete slab | 180 | Each | Technician | 85 | 0 | 0 | 0%
| Install 19/23" rack on existing raised floor | 180 | Each | Technician | 85 | 0 | 0 | 0%
| Install empty cabinet | 180 | Each | Technician | 85 | 0 | 0 | 0%
| Adder driver for instances of height 50+' | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Install backboard | 60 | Each | Technician | 85 | 0 | 0 | 0%
| Labeling DAS Equipment | 2 | Each | Technician | 85 | 0 | 0 | 0%
| Install Expansion Hub | 30 | Each | Technician | 85 | 0 | 0 | 0%
| Install Remote | 60 | Each | Technician | 85 | 0 | 0 | 0%
~ | Rooftop | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Work near rooftop edge |  | Each | Technician | 85 | 0 | 0 | 0%
| Weather proofing for Antenna | 15 | Each | Technician | 85 | 0 | 0 | 0%
~ | DAS Turn-Up | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Greenlight DAS / clear all alarms per remote | 25 | Each | RF-Engineer | 100 | 0 | 0 | 0%
| Walk Testing per antenna per operator | 3 | Each | RF-Engineer | 100 | 0 | 0 | 0%
~ | Decommissioning | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Decomm Batteries | 30 | Each | Technician | 85 | 0 | 0 | 0%
| Decomm DAS antennas | 10 | Each | Technician | 85 | 0 | 0 | 0%
~ | Documentation | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Complete close out package | 1200 | Each | Technician | 85 | 0 | 0 | 0%
~ | Site Walk | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Site Audit/Precon Survey | 480 | Each | Construction Manager | 95 | 0 | 0 | 0%
| Benchmark Post Process (per carrier / Building) | 240 | Each | RF-Engineer | 100 | 0 | 0 | 0%
~ |  |  |  | Technician | Labor Total | 0 | 0
~ |  |  |  | Construction Manager | Labor Total | 0 | 0
~ |  |  |  | RF-Engineer | Labor Total | 0 | 0
~ |  |  |  | RF-Technician | Labor Total | 0 | 0
~ |  |  |  | Project Coordinator | Labor Total | 0 | 0
~ |  |  |  | Project Manager | Labor Total | 0 | 0
~ |  |  |  | Grand | Labor Total | 0 | 0

## Additional SOW's
Denotes Fields for Input |  | Denotes DO NOT TOUCH |  | Total from Here |  | 0 | 0 | 0%
QTY | Category | Minutes Per Unit | Unit | Labor Type | Per Hour | Cost | Hours | Percent of Labor
~ | Structure Support Labor | Minutes /Unit /2 Labor | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| 6x2 Ladder Rack 20'/hr | 5.19 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 24x4 Ladder Rack 10'/hr | 10.38 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 24x4 Wire Basket 10'/hr | 10.38 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 1" Conduit 40'/hr -Bend/Cut | 3.114 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 2" Conduit 20'/hr -Bend/Cut | 5.709 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 4" Conduit 20'/hr | 5.19 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 6" Conduit 20'/hr | 5.19 | Per Foot | Technician | 85 | 0 | 0 | 0%
~ | Backbone Cabling Labor | Minutes /Unit /2 Labor | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| 25-Pair CAT3 ABAM (per ft) | 2.595 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 12-Strand Fusion Pigtails | 134.94 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 24-Strand Fusion Pigtails | 269.88 | Per Foot | Technician | 85 | 0 | 0 | 0%
| 48-Strand Fusion Pigtails | 539.76 | Per Foot | Technician | 85 | 0 | 0 | 0%
| Splice Trays/Cabinets | 259.5 | Per Foot | Technician | 85 | 0 | 0 | 0%
~ | Demolition | Minutes /Unit /2 Labor | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Trunk Demo <150ft | 155.7 | Each | Technician | 85 | 0 | 0 | 0%
| Trunk Demo >150ft | 207.6 | Each | Technician | 85 | 0 | 0 | 0%
| Relay Rack Demo | 415.2 | Each | Technician | 85 | 0 | 0 | 0%
|  | 0 | Each | Technician | 85 | 0 | 0 | 0%
|  | 0 | Each | Technician | 85 | 0 | 0 | 0%
~ | Miscellaneous | Minutes Per Unit | Unit | Labor Type | Per Hour | 0 | 0 | 0%
| Contingency | 60 | 10% | Technician | 85 | 0 | 0 | 0%
| Contingency | 60 | Each | Construction Manager | 95 | 0 | 0 | 0%
| A&E Site walk - KH | 60 | Each | Construction Manager | 95 | 0 | 0 | 0%
| Excess cable removal | 60 | Each | Technician | 85 | 0 | 0 | 0%
|  | 0 | Each | Technician | 85 | 0 | 0 | 0%
|  | 0 | Each | Technician | 85 | 0 | 0 | 0%
|  | 0 | Each | Technician | 85 | 0 | 0 | 0%
|  | 0 | Each | Technician | 85 | 0 | 0 | 0%
|  |  |  | Technician | Labor Total | 0 | 0
|  |  |  | Construction Manager | Labor Total | 0 | 0
|  |  |  | RF-Engineer | Labor Total | 0 | 0
|  |  |  | RF-Technician | Labor Total | 0 | 0
|  |  |  | Project Coordinator | Labor Total | 0 | 0
|  |  |  | Project Manager | Labor Total | 0 | 0
|  |  |  | Grand | Labor Total | 0 | 0

## Pass Throughs
Denotes Fields for Input |  |  | Denotes DO NOT TOUCH
Pass Throughs |  |  | Pass Throughs Grand Total | 0
Per Diem
Labor Type | Rate | Employee Count | Days | Total | Total Days
Technician | 50 |  | 0 | 0 | 0
Construction Manager | 50 |  | 0 | 0 | 0
RF-Engineer | 50 |  |  | 0 | 0
RF-Technician | 50 |  |  | 0 | 0
Project Coordinator | 50 |  |  | 0 | 0
Project Manager | 50 |  |  | 0 | 0
|  |  | Per Diem Total | 0 | 0
Lodging
Labor Type | Rate | Employee Count | Days | Total | Total Days
Technician | 120 |  | 0 | 0 | 0
Construction Manager | 120 |  | 0 | 0 | 0
RF-Engineer | 120 |  |  | 0 | 0
RF-Technician | 120 |  |  | 0 | 0
Project Coordinator | 120 |  |  | 0 | 0
Project Manager | 120 |  |  | 0 | 0
|  |  | Lodging Total | 0 | 0
Travel
Labor Type | Rate | Employee Count | Hours | Total | Total Hours
Technician | 85 | 3 |  | 0 | 0
Construction Manager | 95 | 1 |  | 0 | 0
RF-Engineer | 75 |  |  | 0 | 0
RF-Technician | 75 |  |  | 0 | 0
Project Coordinator | 55 |  |  | 0 | 0
Project Manager | 100 |  |  | 0 | 0
|  |  | Travel Total | 0 | 0
Airfare
Labor Type | Ticket Cost |  | Qty | Total
Technician | 500 |  |  | 0
Construction Manager | 500 |  |  | 0
RF-Engineer |  |  |  | 0
RF-Technician |  |  |  | 0
Project Coordinator |  |  |  | 0
Project Manager |  |  |  | 0
|  |  | Airfare Total | 0
Rentals
Expense Type | Rate | Per Qty | Qty | Total
Fiber Test | 1800 | Week |  | 0
Lift | 1200 | Month |  | 0
PIM |  |  |  | 0
Sweep | 1200 | Month |  | 0
CAT cable tester | 800 | Month |  | 0
Fusion Splicer | 1800 | Month |  | 0
Scissor lift | 1800 | Month |  | 0
Scaffolding Platform | 200 | Week |  | 0
Storage | 700 | Week |  | 0
Truck | 1000 | Week |  | 0
Parking | 600 | Week |  | 0
Soft Hepa Cart | 950 | Week |  | 0
0
|  |  | Rentals Total | 0
Soft Costs
Expense Type | Qty | Per Qty | Cost | Total
Benchmark Testing |  | Each | 4500 | 0
Ibwave design |  | Each | 5500 | 0
Commissioning |  | Each | 5000 | 0
Leasing |  | Each | 3500 | 0
Site Acquisition |  | Each | 2500 | 0
Pre Integration |  | Each | 5775 | 0
Post Integration |  | Each | 6500 | 0
Data collection |  | Each | 2500 | 0
e911 Test |  | Each | 1500 | 0
Extra |  |  |  | 0
|  |  | Soft Cost Total | 0

## Labor Projections
Denotes Fields for Input | [6 empty] | Denotes DO NOT TOUCH
Labor Type | Hourly Cost | Multiplier | Project Hourly Cost | % of project | Hours | Project Labor Cost | Technicians Needed | To Complete In days | To Complete In Weeks | CM's Needed | Total CM Hours | Total Project Hours | Project Labor Estimate
Technician | 85 | 0% | 85 |  | 0 | 0 | 20 | 0 | 0 | 2 | 0 | 0 | 0
Construction Manager | 95 | 0% | 95 |  | 0 | 0 | 19 | 0 | 0 | 2 | 0 | 0 | 0
RF-Engineer | 75 | 0% | 100 |  | 0 | 0 | 18 | 0 | 0 | 2 | 0 | 0 | 0
RF-Technician | 75 | 0% | 75 |  | 0 | 0 | 17 | 0 | 0 | 2 | 0 | 0 | 0
Project Coordinator | 55 | 0% | 55 |  | 0 | 0 | 16 | 0 | 0 | 2 | 0 | 0 | 0
Project Manager | 100 | 0% | 100 |  | 0 | 0 | 15 | 0 | 0 | 2 | 0 | 0 | 0
|  |  | #DIV/0! |  | 0 | 0 | 14 | 0 | 0 | 2 | 0 | 0 | 0
Operational Admin |  |  |  | % of Project |  |  | 13 | 0 | 0 | 2 | 0 | 0 | 0
Construction Manager | 95 | 0% | 95 | 50% | 0 | 0 | 12 | 0 | 0 | 2 | 0 | 0 | 0
Project Manager | 100 | 0% | 100 | 25% | 0 | 0 | 11 | 0 | 0 | 2 | 0 | 0 | 0
Project Coordinator | 55 | 0% | 55 | 15% | 0 | 0 | 10 | 0 | 0 | 1 | 0 | 0 | 0
[5 empty] | 0 | 0 | 9 | 0 | 0 | 1 | 0 | 0 | 0
[7 empty] | 8 | 0 | 0 | 1 | 0 | 0 | 0
[5 empty] | 0 | 0 | 7 | 0 | 0 | 1 | 0 | 0 | 0
Hours In Project | 0 | [5 empty] | 6 | 0 | 0 | 1 | 0 | 0 | 0
Staging&MaterialMultiplier | 5% | Hours | 0 |  |  |  | 5 | 0 | 0 | 1 | 0 | 0 | 0
Staging& Material Time/ hour | 0 | [5 empty] | 4 | 0 | 0 | 1 | 0 | 0 | 0
Total Project time | 0 | [5 empty] | 3 | 0 | 0 | 1 | 0 | 0 | 0
Average Ops Labor Rate | 0 | [5 empty] | 2 | 0 | 0 | 1 | 0 | 0 | 0
Hours per Man-Day | 8 | [5 empty] | 1 | 0 | 0 | 1 | 0 | 0 | 0
Man-Days in Project | 0 | Calendar | 0 |  |  |  | Labor Needed Guage Tool, Put Techs Needed in B25
Hours per Man-Week | 40
Man-Weeks in Project | 0 | Calendar | 0
Technicians Needed | 4

## Drop Down Data
Material | Reg
Equipment | OT
Sub | DT
Ungd
LF | Civil |  | Ea
CY | Elec |  | Lot
Lot | RF |  | Each
Ea | Tech |  | Week
SF |  |  | Month
Labor | Hotel |  | Consumable
| Per Diem |  | DAS Materials
HR | Permits |  | BAT Materials
Bond
Ungd |  |  |  |  | 50%
Civil | Position | Reg | OT | DT | Reg Bill with MU
Elec | Civil - Foreman | 52 | 71 | 89 | 78
RF | Civil - Lead | 34 | 49 | 64 | 51
Tech | Civil - Laborer | 30 | 43 | 57 | 45
Supv | Elec - Foreman | 52 | 71 | 89 | 78
| Elec - Lead | 34 | 49 | 64 | 51
YES | Elec - Laborer | 30 | 43 | 57 | 45
NO | RF - Foreman | 32 | 71 | 89 | 48
| RF - Lead | 34 | 49 | 64 | 51
Day | RF - Laborer | 30 | 43 | 57 | 45
Week | Tech - Foreman | 52 | 71 | 89 | 78
Month | Tech - Lead | 34 | 49 | 64 | 51
EA | Tech - Laborer | 30 | 43 | 57 | 45
| Supervision | 54 | 74 | 94 | 81
| Underground - Foreman | 62 | 87 | 110 | 93
Battery | Underground - Laborer | 27 | 40 | 52 | 40.5
COW/COLT | ACT RF - Engineer | 59 | 71 | 89 | 88.5
C-RAN/Dark Fiber | ACT RF - Laborer | 25 | 35 | 46 | 37.5
DAS | ACT PC | 25 | 35 | 46 | 37.5
DC PWR / PWR Upgrade | ACT Tech - Technician | 33 | 47 | 62 | 49.5
Decom | ACT Tech - CM | 49 | 67 | 84 | 73.5
Gen Mod | ACT Underground - Laborer | 24 | 34 | 44 | 36
HVAC | ACT Underground - Lead | 32 | 47 | 61 | 48
Microwave | ACT Underground - Foreman | 55 | 72 | 89 | 82.5
Modification (Civil/Tower)
NCD / NSD / NSB
Other
RF
Site Prep
Small Cell
Temp/Relo
Upgrade
Upgrade / Maintenance
Underground
EVCS
1050
1054
1062
1068
1070
3040
3054
3064
4054
6510
7010
7054
7510
7520
7530
7535
7540